Typical specification clause for Tile-a-Door+

Wall access panels shall be Howe Green Ltd Tile-a- Door+, manufactured from electro-galvanised mild steel with a concealed pivot, the panels are to be fitted with a budget/security lock*. Overall door sizes shall be ….mm X ….mm. All to be manufactured and supplied by Howe Green Ltd, Marsh Lane, Ware, Herts, SG12 9QQ Great Britain, Tel. 01920 463230 and installed in accordance with the manufacturers details and site work guide.

* Delete as appropriate.